## Sr. Aud. Benchmark (hidden)
Manufacturers Brands | Interacoustics AS208 | Interacoustics AS608 / AS608e | Grasson Stadler GSI17 | Inmedica Oscilla SM910-B | Amplivox Amplivox 116 | Maico MA25 | Madsen Micromate 304
Stim. Tone | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure
Frequencies | 125-8000 Hz | 125-8000 Hz | 125-8000 Hz | 125-8000 Hz | 250-8000 Hz | 250-8000 Hz | 250-8000 Hz
Intensity | (-10 to 100 dB) | (-10 to 100 dB) | (-10 to 90 dB) | (-10 to 90 dB) | (-10 to 100 dB) | (-10 to 90 dB) | (-10 to 90 dB)
Power | Batteries; AC opt. € 123,- | AC or Batteries | AC standard, Batt. Opt. | Batteries; AC optional | AC standard, Batt. Opt. | Battery; AC opt. €15,- | Batteries; AC opt. €116,-
Battery type | 4 * AA type | 3 * AA type
Battery runtime
Audiocups | Standard, Peltor | Optional | Optional | Standard | Optional | Optional € 145 | Standard
Carrying case | Optional € 51,- | Optional | Optional | Optional | Optional | Standard | Optional € 66
Dimensions - (WxDxH mm) | 225x175x82 | 230x180x55 | n/a | 225x180x55 | n/a | 241x171x94 | 300x210x60
Net weight (gramms) | 1300 gr. | 650 gr. | Over 1000 gr | 650 gr. | 735 gr. | 1600 gr. | 1275 gr.
[6 empty] | Interacoustics |  |  |  | Maico USA |  |  | Other WDH compaines |  |  | Total
[6 empty] | A2006 | A2007 | A2007 | #REF! | #REF! | A2007 | #REF! | #REF! | A2007 | #REF! | #REF! | A2007 | #REF!
[6 empty] | 0 | 0 | 491 | 515 | 0 | 0 | 0 | #REF! | 53 | #REF! | 593 | 544 | 570
[6 empty] | 0 | 0 | 24 | 42 | 0 | 0 | 0 | #REF! | 0 | #REF! | 48 | 24 | 42
[6 empty] | 0 | 0 | 3 | 3 | 0 | 0 | 0 | #REF! | 0 | #REF! | 12 | 3 | 3
[6 empty] | 0 | 0 | 59 | 80 | 0 | 0 | 0 | #REF! | 1 | #REF! | 61 | 60 | 80
[6 empty] | 0 | 0 | 111 | 86 | 821 | 779 | 822 | #REF! | 4 | #REF! | 925 | 894 | 910
[6 empty] | 0 | 0 | 5 | 10 | 1052 | 1293 | 991 | #REF! | 0 | #REF! | 1068 | 1298 | 1001
[6 empty] | 0 | 0 | 2 | 3 | 375 | 368 | 322 | #REF! | 1 | #REF! | 379 | 371 | 327
[6 empty] | 0 | 0 | 11 | 30 | 150 | 168 | 119 | #REF! | 10 | #REF! | 178 | 189 | 157
MA 41 | 0 |  |  |  |  | 0 | 0 | 8 | 44 | 220 | 253 | 205 | #REF! | 3 | #REF! | 253 | 264 | 250
MA 42 | 0 | 0 |  |  |  | 0 | 0 | 0 | 8 | 140 | 173 | 197 | #REF! | 0 | #REF! | 140 | 173 | 205
MA 49 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | #REF! | 0 | 0 | 0
MA 50 | 0 | 24 |  |  |  | 0 | 0 | 37 | 40 | 0 | 0 | 0 | #REF! | 16 | #REF! | 32 | 53 | 45
MA 51 | 0 | 46 |  |  |  | 0 | 0 | 105 | 105 | 0 | 0 | 0 | #REF! | 37 | #REF! | 114 | 142 | 165
Pilot | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 1 | #REF! | 3 | 1 | 0
Scout | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | #REF! | 0 | #REF! | 1 | 0 | 0
Pilot MP3 | 0 | 133 |  |  |  | 0 | 0 | 137 | 160 | 330 | 217 | 297 | #REF! | 0 | #REF! | 464 | 354 | 463
Detective | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 50 | #REF! | 0 | #REF! | 0 | 0 | 50
Other Screening/Portable MA | 0 | 0 |  |  |  | 0 | 0 | 14 | 0 | 10 | 23 | 0 | #REF! | 126 | #REF! | 216 | 163 | 140
Screening/portable MA | 0 | 1037 |  |  |  | 0 | 0 | 1007 | 1126 | 3099 | 3274 | 3003 | #REF! | 253 | #REF! | 4487 | 4534 | 4408
PA 5 | 232 | 0 |  |  |  | 238 | 312 | 0 | 0 | 22 | 13 | 12 | #REF! | 97 | #REF! | 401 | 422 | 355
AS 208 | 438 | 0 |  |  |  | 581 | 504 | 0 | 0 | 143 | 142 | 126 | #REF! | 59 | #REF! | 772 | 705 | 603
AS 216 | 295 | 0 |  |  |  | 330 | 333 | 0 | 0 | 0 | 0 | 0 | #REF! | 30 | #REF! | 347 | 363 | 310
Other Screening/portable IA | 2500 | 0 |  |  |  | 0 | 553 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | #REF! | 0 | 553 | 2500
Screening/portable IA | 3465 | 0 |  |  |  | 1149 | 1702 | 0 | 0 | 165 | 155 | 138 | #REF! | 186 | #REF! | 1520 | 2043 | 3768

## Aud. Diagnostic - Clinical
[11 empty] | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | [7 empty] | #VALUE!
Brand Model | Interacoustics AD226 License B | Interacoustics AD226 License E | Interacoustics AD528 | Interacoustics AD629 License B | Interacoustics AD629 License E | Interacoustics AC40 License B ("AC33") | Interacoustics New AC40 License E | Interacoustics AA222 License B* | Interacoustics AA222 License E* | Diagnostic Suite (Sync/Hybrid**) | Interacoustics Callisto License B* | Interacoustics Callisto License E* | Interacoustics Equinox 2.0/Affinity 2.0* | Interacoustics Affinity Compact Ver. 1,2,3,4* | Equinox Evo | Inventis Triangle + | Inventis Bell + | Inventis Harp | Inventis Harp + | Inventis Piano | Inventis Viola - Basic | Inventis Viola - Plus | Inventis Piccolo | Inventis Cello without Ipad | Resonance R25C | Resonance R35C | Resonance R27A | Resonance R37A | Otometrics Aurical Aud | Otometrics Astera | Otometrics Madsen A450 | Otometrics Itera II | Maico MA53 | Maico MA42 | Maico MA41 | Maico MA 28 | Maico MA33 | Grason Stadler Audiostar pro | Grason Stadler Pello | Grason Stadler GSI61 | RION AA-M1C1 | RION AA-H1 | RION AA-M1A | MedRX Avant | MedRX Stealth | Amplivox 270+ | Sibelmed Sibelsound DUO AOM model | Sibelmed Sibelsound 400
Stim. tone | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble, PED | Pure, Pulse, Warble | Pure, Pulse, Warble | same as device | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble, PED | Pure, Pulse, Warble, PED | Pure, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble, Fresh | Pure, Pulse, Warble, Fresh | Tone, Warble, Pulsed tone, Pulsed warble, FRESHNoise | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble, PED | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble, PED | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulsed, Warble | Pure | Pure, Pulsed
Frequencies | 125-8000Hz | 125-8000Hz | 125-8000Hz | 125-8000Hz (20000Hz option) | 125-8000Hz (20000Hz option) | 125-20000Hz | 125-20000Hz | 125-8000Hz | 125-8000Hz | same as device | 125-8000Hz (16000Hz option) | 125-8000Hz (16000Hz option) | 125-8000Hz (20000Hz option) | 125-8000Hz (20000Hz option) | 125-8000Hz (20000Hz option) | 125-8000Hz | 125-8000Hz | 125-8000Hz | 125-8000Hz | 125-8000Hz (20000Hz option) | 125-8000Hz | 125-8000Hz | 125-8000Hz | 125 -20000 Hz | 125-12500Hz (HDA280) | 125-12500Hz (HDA280) | 125-8000Hz | 125-20000 Hz | 125-12500Hz | 125-8000Hz (20000Hz option) | 125-8000Hz | 125-12500Hz | 125-8000Hz | 125-8000Hz (16000Hz option) | 125-8000Hz | 125-8000Hz | 125-8000Hz | 125-12000Hz (20000Hz option) | 125-8000Hz (20000Hz option) | 125-8000Hz (20000Hz option) | 125-8000Hz | 125-10000Hz (tone) 125-16000Hz (Tinnitus) | 125-8000Hz | 125-8000Hz | 125-12000Hz (16000Hz option) | 125-8000 Hz | 125-8000 Hz | 125-20000 Hz
Channels | 1½ | 1½ | 1½ | 1½ | 2 | 2 | 2 | 1½ | 1½ | same as device | 2 | 2 | 2 | 2 | 2 | 1 | 1½ | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1½ | 2 | 2 | 2 | 2 | 2 | 1½ | 1 | 1½ | 2 | 1½ | 2 | 2 | 2 | 2 | 1½ | 2 | 2 | 2 | 2
Intensity | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | same as device | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 100 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10-120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 110 dB | -10 to 105 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10-110 dB | -10 to 130 dB | -10 to 130 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 100 dB | 10 to 100 dB
Output | Air, Bone | Air, Bone | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | same as device | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone | Air, Bone (Only on Plus) | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone,Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone | Air, Bone, Speech
Masking | NB, WN | NB, WN | NB, WN, SN | NB, WN, SN | NB, WN, SN | NB, WN, SN | NB, WN, SN | NB, WN, SN | NB, WN, SN | same as device | NB, WN, SN, TEN | NB, WN, SN, TEN | NB, WN, SN, TEN | NB, WN, SN, TEN | NB, WN, SN, TEN | NBN, WN | NB, WN | NB, WN, SN | NB, WN, SN | NB, WN, SN | NB, WN | NB, WN, SN | NB, WN, SN | NB, WN, SN | NB, WN | NB, WN | NBN, SN, WN | NBN, SN, WN | NB + WN + SN | NB,WN,SN | NB, WN, SN | NB, WN, SN | NB + WN + SN | NB, WN, SN | NB, WN, SN | NB, WN | NB, WN | NB, WN, SN | NB, WN, SN | NB, WN, SN | Yes | Yes | Yes | NB, SN | NB, SN | NB, SN | NB | NB, WN, SN
Bone placement supported | Mastoid | Mastoid | Mastoid | Mastoid | Mastoid | Mastoid | Mastoid | Mastoid | Mastoid | same as device | Mastoid | Mastoid | Mastoid | Mastoid, Forehead | Mastoid, Forehead | Mastoid | Mastoid | Mastoid | Mastoid | Mastoid | Mastiod | Mastiod | Mastoid | Mastoid | Mastoid | Mastoid | Mastiod | Mastiod | Mastiod | Mastoid | Mastoid | Mastoid | Mastoid | Mastoid | Mastiod | Mastiod | Mastiod | Mastiod, Forehead | Mastiod, Forehead | Mastiod | Mastiod | Mastiod | Mastiod | Mastiod | Mastiod | Mastiod | Mastiod | Mastiod
Monitor function | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | same as device | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | No | PC/ tablet | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes
Assistant monitor | No | No | No | No | No | Yes | Yes | No | No | same as device | No | No | Yes | No | Yes | No | No | No | No | Yes | No | No | No | Yes | No | No | No | No | No | Yes | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No
AC PTA calculation | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | same as device | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | - | - | Yes | Yes | No | No | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | Yes | No | Yes (Japanese style) | Yes (Japanese style) | Yes (Japanese style) | Yes | Yes | No | No | No
BC PTA calculation | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Free Field (FF) external amp (FF line) | No | No | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | same as device | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (4 speakers) | No | No | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | No | No | No | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (5 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | No | No | Yes (4 speakers) | Yes (2 speakers) | No | Yes | Yes | Yes | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | No | Yes (2 speakers)
Free field (FF) internal amp | No | No | No | No | No | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | same as device | No | No | Yes (2 speakers) | Yes (2 speakers) | Yes (2 speakers) | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes (3 speakers) | Yes (5 speakers) | Yes (3 speakers) | No | No | No | No | No | No | Yes (2 speakers) | No | Yes (2 speakers) | No | No | No | No | Yes (2 speakers) | No | No | No
Dedicated insert connectors | No | No | Yes | Yes | Yes | Yes | Yes | No | No | same as device | No | No | Yes | Yes | Yes | No | No | No | No | No | No | No | No | Yes | No | No | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | No | Yes | No | No | No
Dedicated High frequency connector | No | No | No | No | No | Yes | Yes | No | No | same as device | No | No | Yes | No | Yes | No | No | No | No | Yes | No | No | No | Yes | No | No | No | No | No | Yes | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | Yes
Insert masking | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | same as device | No | No | Yes | Yes | Yes | No | Yes (Only on Plus) | Yes | Yes | Yes | Yes | Yes | No | No | No | - | - | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | No | No | No | Yes | Yes | No | No
Built-in pre-recorded speech material | No | No | Yes (internal flash) | Yes (internal flash) | Yes (internal flash) | Yes (internal flash) | Yes (internal flash) | Yes | Yes | same as device | Yes (on PC) | Yes (on PC) | Yes | Yes | Yes | No | No | Yes (internal flash) | Yes (internal flash) | Yes (internal flash) | No | Yes | Yes (PC) | Yes | Yes | Yes | Yes | Yes | Yes (on PC) | Yes (on PC) | Yes | No | No | Yes (internal flash) | Yes (internal flash) | No | Yes (on PC) | Yes (internal flash) | Yes (internal flash) | No | Yes | Yes | Yes | Yes (on PC) | Yes (on PC) | Yes | No | Yes
Dedicated graphical test screens | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | same as device | Yes (PC) | Yes (PC) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (PC) | Yes (PC) | Yes | Yes | Yes | Yes | No | Yes (PC) | Yes (PC) | No | Yes (PC) | Yes | Yes | Yes | Yes (PC) | Yes | Yes | Yes | Yes | Yes (prints results on word level) | Yes | Yes (PC) | Yes (PC) | Yes | Yes | Yes
Patient communication | Talk Forward | Talk Forward | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | same as device | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward | Talk Forward | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward | Talk Forward | Talk forward | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward | Talk Forward | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward | Talk Forward/ Talk Back | Talk Forward/ Talk Back | No | No
Customized Printout | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | same as device | Yes (via PC) | Yes (via PC) | Yes | Yes | Yes | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (Via PC) | Yes | Yes | Yes | Yes | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | No | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes | Yes (via PC) | Yes (via PC) | Yes | Fixed printout (built-in printer) | Fixed printout (built-in printer) | Fixed printout (built-in printer) | No | No | No | Yes | Yes
Combined AUD/IMP report | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | same as device | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes (via PC) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes (via PC) | No | Yes | Yes | Yes | No | No | No | No | No | No | No | No
Display masking info | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | same as device | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | Yes | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes
VRA connector | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No
VRA controles | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | Yes | No | No | No | No | No | Yes | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No
Special Tests/Functions
MHA (Master Hearing Aid) | No | No | No | No | Yes (2 channel) | Yes | Yes | No | No | Hybrid/Sync | Option | Yes | Option | Option | Option | No | No | Yes (2 channel) | Yes (2 channel) | Yes (2 channel) | No | No | Yes | Yes | No | Yes | No | Yes | No | Yes | No | option | No | Yes | Yes | No | No | No | No | No | No | No | No | Yes | Yes | Yes | No | No
HLS (Hearing Loss Simulator) | No | No | No | No | Yes | Yes | Yes | No | No | Hybrid/Sync | Option | Yes | Option | Option | Option | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | Yes | Yes | option | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | No | No
SISI | No | Yes | option | Yes | Yes | Yes | Yes | Yes | Yes | Hybrid/Sync | Option | Option | Option | Option | Option | No | No | Yes | Yes | Yes | No | No | No | Yes | No | Yes | No | Yes | No | Yes | Yes | option | Yes | Yes | No | No | Yes | Yes | Option | Yes | Yes | Yes | Yes | No | No | Yes | No | option
ABLB (Fowler) | Yes | Yes | option | Yes | Yes | Yes | Yes | Yes | Yes | Hybrid (from tone)/ Sync | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | No | No | No | Yes | Yes | Yes | Yes | No | Yes | No | option | Yes | Yes | No | No | No | Yes | Option | No | Yes | Yes | Yes | No | No | Yes | No | option
Békésy | No | Yes | option | Yes | Yes | Yes | Yes | No | No | Hybrid/Sync | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | No | Yes | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | No | No | No | No | No
Stenger | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Hybrid/Sync | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | Yes | Yes | No | Yes | No | option | Yes | Yes | Yes | No | Yes | Yes | Option | Yes | No | Yes | No | Yes | Yes | Yes | No | No
Weber | No | No | option | Yes | Yes | Yes | Yes | Yes | Yes | Hybrid/Sync | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | option
Binaural Speech | No | No | option | No | Yes | Yes | Yes | option | option | Hybrid/Sync | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | Yes | No | Yes | Yes | No | No | No | No | No | No | Yes | No | Yes | Yes | Yes | Yes | No | No | No
Tone in noise / Langenbeck | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Hybrid (from tone)/ Sync | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | Yes | Yes | No | No | No | No | No | Yes | No | No | No | Yes | Yes | No | No | No
Auto threshold (HW) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Hybrid/Sync | No | No | No | No | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | Yes | Yes | Yes | No | No | No | Yes (also for BC) | Yes | No | No | No | Yes | Yes
Speech in noise testing | No | No | option | Yes | Yes | Yes | Yes | Yes | Yes | Hybrid (from speech)/ Sync | No | Yes | Yes | Yes | Yes | No | No | No | No | Yes | No | No | No | No | No | No | No | Yes | No | Yes | No | Yes | Yes | Yes | No | No | No | No | Option | Yes | No | Yes | Yes | Yes | Yes | No | No | No
TEN(HL) | No | No | No | Option | Option | Option | Yes | No | No | Hybrid/Sync | Option | Option | Option | option | Option | No | No | No | Yes | No | No | No | No | No | No | No | No | No | Yes | Yes | No | No | No | No | No | No | No | Yes | Option | No | No | No | No | No | No | No | No | No
QuickSIN | No | No | No | Option | Option | Option | Option | Option | Option | Hybrid/Sync | Option | Option | Option | option | Option | No | No | No | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | Yes | Option | No | No | No | No | Yes | Yes | No | No | No
MLD (Masking Level Difference) | No | No | No | No | No | No | Yes | No | No | Hybrid/Sync | No | No | Option | No | Option | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Multi Frequency (Tinnitus Evaluation) | No | No | No | No | No | No | Yes | No | No | Hybrid/Sync | No | Option | Option | option | Option | No | No | No | No | Yes | No | No | No | No | No | Yes | No | Yes | No | Yes | No | No | No | No | No | No | No | Yes | No | No | No | Yes, quick comparison | No | No | No | No | No | No
Pediactric Noise/FRESH Noise | No | No | No | No | No | No | Yes | No | No | Hybrid/Sync | No | No | No | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | No | No | No | No | No | No | No | Option | Option | No | No | No | No | No | No | No | No | No
Masking Help/Assistant | No | No | No | Yes | Yes | Yes | Yes | No | No | Hybrid/Sync | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | No | Yes | Yes | No | No | Option | No | No | No | Yes (help, not auto) | No | No | No | Yes | No | No
Tone Decay | No | No | No | No | No | Yes | Yes | No | No | Hybrid/Sync | No | Option | Yes | option | Option | No | No | No | Yes | Yes | No | No | No | No | No | Yes | No | Yes | No | Yes | No | No | No | Yes | No | No | No | Yes | Option | No | No | Yes | No | No | No | Yes | No | option
Knaster | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Oldenburger | No | No | No | No | No | No | No | No | No | No | No | No | Option | No | Option | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
ANL | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
SIQ Speech in Quiet | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
SIN Speech in Noise | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
ACT | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No
AMTAS | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | No | No | No | No | No | No | No | No | No
Dedicated pedriatic test screen | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Tick sheet | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Frequency filtered sounds (ManU-IFU, HD-sounds) | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Ling-6 | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Data Interfaces
Noah interface | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | No | No
OtoAccess Interface | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | No | No | No | No | No | No
ADI/EMR interface | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Hardware Specifications
Standalone / PC-based | Both (Hybrid) | Both (Hybrid) | Standalone (Sync) | Both (Hybrid) | Both (Hybrid) | Both (Hybrid) | Both (Hybrid) | Standalone (Sync) | Standalone (Sync) | N/A | PC-based | PC-based | PC-based | PC-based | PC-based | Standalone | Both (Hybrid) | Both (Hybrid) | Both (Hybrid) | Both (Hybrid) | Daisy Maestro module | Daisy Maestro module | PC-based | PC-based | Standalone | Standalone | Standalone | Standalone | PC-based | PC-based | PC-based | Both | Standalone | Standalone | Standalone | Standalone | PC-based | Standalone | Standalone | Standalone | Standalone | Standalone | Standalone | PC-based | PC-based | Standalone | Standalone | Standalone
Audiometer Keyboard | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | same as device | No | No | Option | Option | Option | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes | No | Yes (external) | Yes (external) | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes
Touch keyboard | No | No | No | No | No | No | No | No | No | No | No | No | No | Option | Option | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Internal memory | 500 patients | 500 patients | 500 patients | 500 patients | 500 patients | 1000 patients | 1000 patients | 500 patients | 500 patients | same as device | PC storage | PC storage | PC storage | PC storage | PC storage | 100 patients | 100 patients | 100 patients | 100 patients | 100 patients | - | - | Yes/PC storage | Yes / PC storage | 50 tests | - | - | - | PC storage | PC storage | PC storage | 1 patient | 1 patient | SD memory card 2GB | SD memory card 2GB | Yes | PC storage | 1000 patients | 32GB (SD Card) | 1 patient | 1 Patient | 1 patient | 1 patient | PC storage | PC storage | 10 patients | 1000 test | 1000 test
Display | 4,3'' (480x272 pix) color | 4,3'' (480x272 pix) color | 5" (480x272 pix) color | 5,7'' (640x480 pix) color | 5,7'' (640x480 pix) color | 8,4'' (800x600 pix) color | 8,4'' (800x600 pix) color | 10,1" | 10,1" | same as device | PC monitor | PC monitor | PC monitor | PC monitor | PC monitor | 2,8" color | 4,3"(480 x 272 pixels), color | 4,3"(480 x 272 pixels), color | 4,3"(480 x 272 pixels), color | 7"(800 x 480 pixels), color | 4.3" (480x272 pixels), color | 4.3" (480x272 pixels), color | PC monitor | PC monitor | 7" Color | 7" Color | 7" Color | 7" Color | PC monitor | PC monitor | PC monitor | Numerical | Numerical | 5,7'' (640x480 pix) color | 5,7'' (640x480 pix) color | 4,3" LED color | PC monitor | 10,1'' (800x600 pix) color | 8" (1024x768) | 5,9'' graphical | 7" Color | 10,4'' color touch screen | 7" color touch screen | PC monitor | PC monitor | 2 lines display | 95*54mm Color | LCD
Ajustable flip display | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | same as device | PC monitor | PC monitor | PC monitor | PC monitor | PC monitor | No | No | No | No | No | no | no | PC monitor | PC monitor | No | No | No | No | No | No | No | No | No | Yes | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | No | No | No
Touch screen | No | No | No | No | No | No | No | No | No | No | No | No | No | Via Touch Keyboard | Via Touch Keyboard | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | No | No | No | Yes | No
Built-in mic /goose neck mic | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | same as device | No | No | No | No | No | Yes | No | No | No | No | Yes | Yes | Yes | Yes | No | No | Yes | No | No | No | No | Yes | No | Built-in | Built-in | Built-in | No | Yes | No | No | No | No | No | No | No | No | No | No
Direct Print | Yes (to PC printer) | Yes (to PC printer) | Yes (to PC printer) | Yes (to PC printer) | Yes (to PC printer) | Yes (to PC printer) | Yes (to PC printer) | Yes (MPTIII and PC printer) | Yes (MPTIII and PC printer) | same as device | Via PC | Via PC | Via PC | Via PC | Via PC | No | Yes | Built-in thermal option | Built-in thermal option | Built-in thermal option | Built-in thermal option | Built-in thermal option | Yes | Yes | Built-in thermal option | Built-in thermal option | Built-in thermal printer | Built-in thermal printer | Via PC | No | No | No | No | Yes (to PC printer) | Yes (to PC printer) | No | Via PC | Yes (to PC printer) | Yes (to PC printer) | No | Yes, thermal (Built-in) | Yes, thermal (built-in) | Yes, thermal (built-in) | Via PC | Via PC | Yes, thermal printer | Yes | Yes
USB / RS232 interface | USB (1) | USB (1) | USB (1) | USB (4) | USB (4) | USB (4) | USB (4) | USB (1) | USB (1) | same as device | No | No | USB | USB | USB | USB | USB | USB | USB | USB | USB | USB | USB | USB | USB | USB | USB | USB | USB (3) | USB | USB | RS232 | RS232 | USB (2) | USB (2) | USB (2) | Yes | USB (4) | USB (4) | RS232 | RS232 | USB (2) | RS232 (2) | USB | USB | PC USB | USB | Both
HDMI output (for ext. monitor) | No | No | No | No | No | Yes | Yes | Yes | Yes | same as device | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No
Calibration for all transducers | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | same as device | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | No | No | Yes | No | No
Battery power option | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Carrying case | Yes | Yes | option | Yes | Yes |  |  | No | No | same as device | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Integrated case | Yes | Yes | Integrated case | Yes | No | Yes | No | No | No | No | Yes | Yes | Yes | Yes | Yes
Dimensions - (WxDxH mm) | 300x230x90 | 300x230x90 | 360x280x110 | 365x295x65 | 365x295x65 | 522x366x98 | 522x366x98 | 90x330x440 | 90x330x440 | same as device | 212x121x44 | 212x121x44 | 370x435x77 | Version 1-3: 226x226x60 Version 4: 226x244x135 | 264x264x60 | 210x160x40 | 320x320x90 | 320x320x90 | 320x320x90 | 320x320x150 | 320x320x90 | 320x320x90 | 160x160x30 | 308x217x64 | 370x290x180 | 290x370x180 | 290x370x180 | 370x290x180 | 275x205x60 | 325x255x60 | 279x196x54 | 450x290x85 | 360x460x150 | 345x200x80 | 345x200x80 | 380x270x140 | 154x103x27 | 510x370x335 | 375x267x351 | 500x390x130 | 350x390x250 | 459x470x350 | 350x395x290 | 130x130x30 | 127x203x32 | 249x374x90 | 236x197x77 | 390x260x105
Net weight (gramms) | 1300 | 1300 | 1500 | 3300 | 3300 | 7900 | 7900 | 3100 | 3100 | same as device | 565 | 565 | 5100 | Version 1: 900 Version 2: 1900 Version 3: 2000 Version 4: 3900 | 1800 | 425 | 1800 | 1800 | 1800 | 2000 | 1900 | 1900 | 300 | 1300 | 3500 | 3500 | 3500 | 3500 | 655 | 2400 | 700 | 4500 | 4600 | 1500 | 1500 | 1900 | 300 | 7700 | 3700 | 8700 | 5800 | 23000 | 6200 | 500 | 900 | 1400 | 600 | 2400
Please report errors or wrong information to the Technical Product Manager
* Please refer to benchmark for IMP or Fitting for an overview of the IMP and fitting features on this device
** The availibility for hybrid/sync depends on the license on the device

## Aud. Screening
Manufacturers Brands | Interacoustics AS608 | Interacoustics AS608E | Interacoustics Luna | Inventis Triangle | Inventis Bell | Inventis Cello with Ipad | Inventis Picollo with Ipad | Inventis Picollo without Ipad | Amplivox Model 170 | Amplivox PC850 | Grason Stadler GSI 18 | Maico ST 20 | Maico MA 25 | Otopad Otohub | Shoebox | GSI Amtas (Software) | Hermes Hedera Biomedics | MedRX AIR+ | Sibelmed Sibelsound DUO AOM model | Otosure from Amplivox | RION AA-58 | hearX hearScreen | hearX hearTest | Resonance r07a
Stim. Tone | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, pulse, warble | Pure, Warble | Pure, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure | Pure | Pure, Pulsed, Warble | Pure, Pulse, | Pure, Pulse, Warble | Pure | Pure, Pulse, Warble | pure | Pure, Pulse, Warble | Pure | Pure | pure | Pure | Pure | Pure | Pure, Pulsed
Frequencies | 125-8000Hz | 125-8000Hz | 125-8000 Hz | 125-8000Hz | 125-8000Hz | 125-8000Hz | 125-8000Hz | 125-8000Hz | 125-8000 Hz | 250-8000 Hz | 125-8000 Hz | 250-8000Hz | 125-8000Hz | 125-8000Hz | 250-16000Hz | 250-8000Hz | 125 - 20000 Hz | 125-8000 Hz | 125-8000 Hz | 125-8000Hz | 250-8000 Hz | 500-8000 Hz | 125-16000 Hz | 125-8000 Hz
Channels | 1 | 1 | 1 | 1 | 1½ | 1½ | 1½ | 1½ | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Intensity | -10 to 95 dB | -10 to 95 dB | -10 to 105 dB | -10 to 100 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB | -10 to 100 dB | -10 to 100 dB | -10 to 100 dB | -10 to 100 dB | -10 to 95 dB | -10 to 110 dB | -10 to 120 dB | 10 to 80 dB | -10 to 120 dB | -10 to 100 dB | -10 to 100 dB | -10 to 100 dB | -10 to 90 dB | 20 to 70 dB | 0 to 90 dB | -10 to 100 dB
Output | Air | Air | Air | Air, Bone | Air, Bone | Air, Speech | Air, Speech | Air, Bone, Speech | Air | Air | Air, Bone | Air, Bone | Air | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air, Bone, Speech | Air | Air, Bone | Air | Air | Air | Air | Air
Masking | No | No | No | Yes | Yes, NBN | Yes, NB | Yes, NB | Yes, NB, WN, SN | No | No | No | Yes, WN | No | Yes, WN, NB | Yes, NB | Yes , NB | Yes, NB, WN | No | Yes, NB | no | No | No | No | No
Monitor | No | No | No | Yes | Yes | PC/ tablet | PC/ tablet | PC/ tablet | Yes | Yes | Yes | No | No | PC/ tablet | PC/ tablet | PC/ tablet | PC/ tablet | No | Yes | PC/ tablet | No | No | Tablet | Yes
PTA calculation | No | No | Yes | No | Yes | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No
CPT/AMA | No | No | Yes | No
PLH | No | No | Yes | No
Free Field (FF) | No | No | No | No | No | Yes | No | No | No | No | No | Option | No | Yes | No | No | Yes | No | No | No | No | No | No | No
Build in pre-recorded speech material | No | No | no | No | No | No | No | No | No | No | No | No | No | Yes | Yes | No | Yes | No | No | No | No | No | No | No
Dedicated graphical test screens | Yes | Yes | yes | Yes | Yes | Yes (PC) | Yes (PC) | Yes (PC) | Yes | Yes | No | Yes | Yes | Yes (PC) | Yes (PC) | Yes (PC) | Yes (PC) | No | Yes | Yes (PC) | No | Yes | Yes | Yes
Patient communication | No | Talk Forward | No | Talk Forward | Talk Forward | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk Forward/ Talk Back | Talk forward | Talk Forward | No | No | No | Talk Forward/ Talk Back | Talk Forward/ Talk Back | No | Talk Forward/ Talk Back | No | No | Direct | No | No | No | No
Customized Printout | No | No | Yes | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | Yes (via PC) | No | No | No | Yes (via PC) | No | No | No | No | Yes | No | Yes | Yes (via PC) | No | No | No | No
Combined AUD/IMP report | No | No | No | No | Yes | Yes (via PC) | Yes (via PC) | Yes (via PC) | No | No | No | Yes (via PC) | No | Yes (via PC) | No | No | No | No | No | Yes (via PC) | No | No | No | No
Display masking info | No | No | No | No | Yes | Yes | Yes | Yes | No | No | No | Yes | No | Yes | Yes | Yes | Yes | No | Yes | No | No | No | No | No
Special Tests
SISI | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | No | No | No
ABLB (Fowler) | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | Yes | No | No | No | No | No | No | No
Bekesy | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No
Auto threshold (HW) | No | Yes | Yes | Yes | Yes | No | No | Yes | No | No | No | No | No | No | Yes | No | No | No | Yes | No | No | No | No | No
Speech in noise tesing | No | No | No | No | No | No | No | Yes | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No
Multi Frequency (Tinnitus Evaluation) | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | Yes | Yes | No | No | No | No | No | Yes
Tone Decay | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | Yes | No | No | No | No | No | No | No
Data Interfaces
Noah interface | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | Yes | Yes | Yes | No | No | Yes | No | No | No | No | No | Yes
OtoAccess Interface | No | No | No | No | No | No | No | No | No | No | No | No | Yes | No | No | No | No | No | No | No | No | No | No | No
ADII/EMR interface | No | No | Yes | No | No | No | No | No | Yes | No | No | (computer interface) | Yes | No | No | No | Yes | No | Yes | No | No | No | No | No
Hardware Specifications
Standalone / PC-based | Standalone | Standalone (Sync) | PC-based | Standalone | Both (Hybrid) | PC-based | PC-based | PC-based | Standalone | Both | Standalone | Standalone | Standalone | PC-based | PC-based | PC-based | PC-based | PC-based | Standalone | PC-based | Standalone | PC-based | PC-based | Standalone
Audiometer Keyboard | Build in | Build in | External | Build in | Build in | External | External | External | Yes | Yes | Build in | Build in | Build in | External | External | No | External | No | Yes | External | Build in | No | No | Yes
Internal memory | No | No | Yes / PC storage | 100 patients | 100 patients | Yes / PC storage | Yes / PC storage | Yes / PC storage | Yes | 12 tests | 1 patient | Yes | No | Yes / PC storage | Yes / PC storage | Yes / PC storage | Yes / PC storage | No | 1000 test | PC storage | 1 Patient | No | No | 50 patients
Display | 2,4" | 2,4" | PC monitor | 2,8" color | 4,3"(480 x 272 pixels), color | PC monitor | PC monitor | PC monitor | Yes | 2 lines dsplay | Yes | optional LCD | 2,4" | PC monitor | PC monitor | PC monitor | PC monitor | No | 95*54mm Color | PC monitor | No | Tablet | Tablet | 2,5"
Ajustable flip display | No | No | PC monitor | No | No | PC monitor | PC monitor | PC monitor | No | No | No | No | No | PC monitor | PC monitor | PC monitor | PC monitor | No | No | PC monitor | No | No | No | No
Touch screen | No | No | PC monitor | Yes | No | Yes | Yes | No | No | No | No | No | No | Yes | Yes | Yes | Yes | No | Yes | No | No | Yes | Yes | No
Build in mic /goose neck mic | No | No | No | Yes | No | Yes | Yes | Yes | No | No | No | No | No | Yes | Yes | No | Yes | No | No | No | No | No | No | Yes
Direct Print | No | No | Yes PC | No | Build in thermal option | Yes | Yes | Yes | Yes , thermal printer | No | No | No | No | Yes | Yes | No | Yes | No | Yes | no | Yes, thermal printer | No | No | No
Carrying case | Yes | Yes | Yes | Yes | No | No | No | No | Yes | Yes | No | optional | Yes | No | Yes | N/A | No | Yes | Yes | Yes | No | No | No | Yes
Dimensions - (WxDxH mm) | 225*180*55 | 225*180*55 | Headset | 210*160*40 | 320*320*90 | 308*217*64 | 160*160*35 | 160*160*35 | 270*165*60 | 270*175*68 | 320*224*81 | 290*220*60 | 225*180*55 | N/A | N/A | N/A | 210*150*25 | 130*130*30 | 236*197*77 | 120*85*30 | 250*240*90 | N/A | 260*180*95 | 240*190*30
Net weight (gramms) | 980 | 980 | 500 | 425 | 1800 | 1300 | 300 | 300 | 710 | 720 | 1100 | 1900 | 980 | N/A | N/A | N/A | 300 | 500 | 600 | 165 | 1500 | N/A | 1000 | 600

## Cli. Aud. Benchmark (hidden)
Manufacturers Brands | Interacoustics AC40 | Interacoustics AC33 | Grason-Stadler GSI61 | Otometrics Orbiter 922 | Eymasa Audios 310 | Eymasa Audios 320 | Eymasa Audios 330 | RION AA-79 | Amplifon Amplaid A321 HF
Stim. Tone | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble | Pure, Pulse, Warble
Dual Frequency Function | Yes | No | No |  | No | No | No | No | No
High Frequncy Function (to 20kHz) | Yes | No | Option ($990) | Yes | No | Option | Yes | No | Yes
Intensity | -10 to 120 dB | -10 to 120 dB | -10 to 120 dB |  | -10 to 110 dB | -10 to 120 dB | -10 to 120 dB | -10 to 110 dB
Attenuator steps | 1 and 5 dB | 1 and 5 dB | 1 dB | 1 dB
Air-bone-speech | Yes | Yes | Yes |  | Yes | Yes | Yes | Yes
Patient Assistant Intercom | Yes | No | No
RS232 | Yes | Yes | Option | Yes | Yes | Yes | Yes | Yes | Yes
Weber | Yes | Yes | Yes
MLD Test | Yes | No | No | Yes | No | No | No | No | Yes
MLB Test | Yes | No | No |  | No | Option | Option | No | Yes
Loudness Scaling | Yes | No | No | No | No | No | No | No
Fixed Frequency Bekesy | Yes | No | No | Yes | Option | Option | Yes | No | Yes
Sweep Frequency Bekesy | Yes | No | No | No | No | No | No | No
SISI | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
ABLB (Fowler) | Yes | Yes | Yes | Yes | Option | Yes | Yes | Yes | Yes
DLI/Lüscher | Yes | No | No | Yes | Option | Yes | Yes | No | Yes
Auto HL Threshold | Yes | Yes | No | Yes |  |  |  | Yes | Yes
Multi Frequency(Tinnitus Evaluation) | Yes | No | No | Yes | Option | Option | Yes | No | Yes
Noah Audi Link Driver | Yes | Option | Option | ?
Hardware output for TDH39 & Inserts | Yes | No | Yes | Yes |  |  |  | No
Calibration for all transducers | Yes | Yes | Yes | Yes |  |  |  | No
Built-in free field amps | Yes | Yes | Yes | Yes | No | No | Yes | No
Cd/Tape socket | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  | Yes
Display size | 640*200 |  |  | 640*200 | 40*2 | 340*240 | 640*240
Built-in printer | No | No | No | Yes | No | Option | Yes | Yes | Yes
Transfer all results to PC | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
PC Keyboard for data entry | Yes | Yes | No | No | No | Option | Yes | No
Noah interface | Yes | Yes | Yes | Yes |  |  |  | Yes | Yes
Dimensions - (WxDxH mm) | 470*500*200 | 480*400*150 | 500*390*320 | 522*418*155 |  |  |  | 415*395*275
Net weight (gramms) | 13000 | 9000 | 8700 | 9000 | 8000 | 10000 | 10000 | 8000